Chest Tubes

(AKA Chest Drainage System)

Purpose

- To remove air or fluid from the pleural space

- Commonly inserted to resolve a pneumothorax, hemothorax, pleural effusion, or to drain blood from the mediastinum after thoracic surgery

Background

Pneumothorax

- Most common reason for inserting a chest tube

- Also known as a “collapsed lung”

- Caused by external air entering the pleural space from a hole in the chest wall or by air in the lungs entering through a hole in the pleura

- The collected air disrupts the normal negative pressure within the lungs (the vacuum that keeps the lungs expanded)

- Loss of this vacuum causes the lung to collapse

- A collapse greater than 15% can lead to respiratory compromise, so insertion of a chest tube is necessary

Tension Pneumothorax

- Life-threatening emergency

- Occurs when the air in the pleural space increases to a dangerous level

- The increasing pressure causes a shift that pushes the heart, great vessels, trachea, and lungs to the unaffected side

- This shift severely decreases lung expansion, venous return, and cardiac output

- S/S include severe respiratory distress, tracheal deviation to the unaffected side, cyanosis, muffled heart sounds, and possibly cardiac arrest

Hemothorax

- Collection of blood in the pleural space

- Can be life-threatening

- Can be a combination of air and blood or a hemopneumothorax

Risks for Pneumothorax

- Trauma

- COPD

- Smoking

- Bronchoscopy

- CPR

- Central line insertion

- Mechanical ventilation

Chest Tubes

- Sterile, flexible, non-thrombogenic catheter made of vinyl or silicone

- Measure about 20” long and varies in diameter

- The proximal end, which rests in the pleural space, has several eyelets to drain air and fluid and to prevent occlusion

- The distal end connects to the chest drainage unit (CDU)

Chest Drainage Units (CDU)

- Multiple brands

- 3 main components

  - Collection chamber

  - Water-seal chamber

  - Suction-control chamber or regulator

- 2 Types

  - Water Seal System

  - Dry Suction Water Seal System

Water Seal System

- Collection chamber

-acts as a reservoir for fluid draining from the chest tube

-graduated for easy measuring of drainage

-suction may be added to create negative pressure and promote drainage of 		 fluid and removal of air

- Suction Control Chamber

-regulates the amount of negative pressure applied to the chest

-the amount of suction is determined by the water chamber

-after the suction is turned on, bubbling appears in the suction chamber

-adding more fluid, results in more suction

- Positive Pressure Valve

-located at the top of the suction chamber

-automatically opens with increases in positive pressure within the system

-air is automatically released through the positive pressure release valve if 			 the suction tubing is inadvertently clamped or kinked

- Water Seal Chamber

-has a one-way valve or water seal that prevents air from moving back into 		 the chest when the patient inhales

-there is an increase in the water level with inhalation and a return to the 			 baseline level during exhalation (referred to as “tidaling”)

-intermittent bubbling in the water chamber is normal, but continuous 			 bubbling can indicate an air leak (I’ve seen this in 3 NCLEX books)

-bubbling and tidaling do not occur when the tube is placed in the 				 mediastinal space; however fluid may pulsate with the heart beat

-the water level in the water seal chamber reflects the negative pressure 			 present in the intrathoracic cavity

-a rise in the water level reflects the negative pressure in the pleural or 			 mediastinal space

-too much negative pressure can cause trauma to tissue

-most CDU’s have an automatic means to prevent excessive negative 			 pressure

**If the chest tube is connected to gravity drainage only, suction is not used.  The pressure is equal to the water seal only.  Two-chamber CDU’s are available for use with patients who need only gravity drainage**

Dry Suction Water Seal System

- Water Seal Chamber

-filled with water to the 2-cm level

-bubbling in this area can indicate an air leak

- Dry Suction Control Chamber

-contains a regulator dial that conveniently regulates vacuum to the chest 			 drain

-water is not required for suction in these systems

-without the bubbling water, these machines are quieter

-if the container is knocked over, the water seal may be lost

-when the tube is connected to the suction source, the regulator dial allows 		 the desired level of suction to be dialed in

-the suction is increased until an indicator appears

-the indicator has the same functioning as the bubbling in the traditional 			 water seal system