Peak Flow Monitoring

- Used to measure the highest volume of air flow during a forced expiration

- Used along with symptoms to determine severity of asthma

- May be used by the patient to see a problem building even before symptoms occur

Steps

  - Move the indicator to the bottom of the numbered scale

  - Stand up

  - Take a deep breath and fill the lungs completely

  - Place mouthpiece in mouth and close lips around mouthpiece

  - Blow out hard and fast with a single blow

  - Record the number achieved on the indicator

Perform steps 1-6 twice more and record the highest number in the asthma diary

Evaluation

- Volume is measured in the color-coded zones

  - Green is 80-100% of personal best

  - Yellow is 60 to 80% (airways may be constricted)

  - Red is less than 60% (patient should seek medical attention)